## Revised Estimate
Estimate for Fluxus-2020
S. No. | Particulars | Unit | Qty. | Days | Rate(in Rs.) | Cost (in Rs.)
Technical rider requirement-light &sound
1 | Providing and making all necessary arrangement for day 1 event i.e. 7/2/2020 of fluxus technical rider as per attached annexure -1 complete in all respect | Job | 1 | 1
2 | Providing and making all necessary arrangement for day 2 event i.e. 8/2/2020 of fluxus technical rider as per attached annexure -1 complete in all respect | Job | 1 | 1
3 | Providing and making all necessary arrangement for day 3 event i.e. 9/2/2020 of fluxus technical rider as per attached annexure -1 complete in all respect | Job | 1 | 1
Total A | [5 empty] | 0
General Ground Lighting and others Electrical requirements:-
4 | 6 No. SRX/VRX top, 6 Subs, mixure, 6 monitor, 5 big stand mic(shure), 3 small stand mic, 2 cordless mic, 2 head mic,4 instrument mic,2 amplifier,usb interface,double bass drum at Hostel building for 4 days complete in all respect | Job | 1 | 4
5 | 4 No. SRX top, 2 base, complete setup with 2 cordless mic for technical event for 3 days complete in all respect | Job | 1 | 3
6 | 1 Sound console with table arrangement for hostel building with masking for 4 days complete in all respect | Job | 1 | 3
7 | Providing and fixing of LED (Cool day Colour) minimum 250 w including fittings for 3 days on 6 meter pole with MCB Breaker on every pole.surrounding cricket ground | Nos | 100 | 3
8 | Providing and fixing of LED minimum 250 w including fittings for 4 days on 6 meter pole with MCB Breaker on every pole | Nos | 50 | 3
9 | Providing and fixing of LED (Warm White) focus lights of minimum 250 w fittings for 3 days on 6 meter pole with MCB Breaker on every pole | Nos | 20 | 3
10 | Providing and fixing of halogen and LED light Tower on 6 meter pole with MCB Breaker on every pole for hostel building ground for 3 days complete in all respect | Nos | 20 | 3
11 | Providing and fixing Joint less Cabling for All electrical items (required for Fluxus) for 4 days complete in all respect | Job | 1 | 3
12 | Power points (socket with switch control arrangement) of 6/12 amp rating with necessary joint less wiring for providing supply at venue(Green Rooms/Stalls and others . Complete in all respect. for 3 days. | Nos | 50 | 3
13 | Earthling with G.I. earth plate including accessories, coal, charcoal, etc. and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as require(one for general electrical and other sound & light as per tech rider). for 3 days. | Nos | 3 | 3
14 | Providing and fixing of connections with proper termination (Also necessary joint less cabling with panel ) to all above & below mentioned electrical and electronics items within function area as per requirement with necessary Panel for 4 days. | Job | 1 | 3
15 | Providing and fixing 6 sharpies,24 LED par at Hostel ground etc. complete in all respect | Job | 1 | 4
16 | Providing and fixing 4 SRX, 4 subs at required locations and 6 mic for 2 locations for 3 days etc. complete in all respect | Job | 1 | 3
17 | Providing and fixing 12 LED par at Technical ground etc complete in all respect | Nos | 12 | 2
18 | providing and fixing Silent Generator 250 KVA with fuel (12 Hr per day Backup) for 2 days at cricket ground | Nos | 1 | 2
19 | providing and fixing 2 Nos Silent Generator 125 KVA with fuel ( Backup Required for 12 Hr per day each ) for 3 days at cricket ground | Nos | 2 | 3
20 | providing and fixing 1 Nos Generator rent 125 KVA Silent DG Set( Backup Required for 12 Hr per day each ) for 4 days at Hostel building ground | Nos | 1 | 3
Total B | [5 empty] | 0
Stage/tent Material
21 | Providing and fixing Scaffolding MS Structure Clear Stage with new black cloth masking of Size 56x32=1792 Sq.Ft. on 5 feet height for 3 days with new dark Grey carpet at Cricket ground complete in all respects | Sft | 1792 | 3
22 | Providing and fixing Console scaffolding stage platform (24x16=384 sq. ft.) arrangement on 4 feet height with carpet and 5 nos table with stair for 3 days complete in all respect | Sft | 384 | 3
23 | Providing and fixing Scaffolding MS Structure Clear Stage with new black cloth masking of Size 56x4=224 Sq.Ft. on 4 feet height (for SFX) 2 days with new dark Grey carpet at Cricket ground complete in all respects | Sft | 192 | 2
24 | Providing and fixing Scaffolding MS Structure Clear Stage with new black cloth masking of Size 32x24=768 Sq.Ft. on 5 feet height for 4 days with new dark Grey carpet at near Hostel building complete in all respects | Sft | 768 | 4
25 | Providing and fixing Scaffolding MS Structure Ramp with new black cloth masking of Size 8x24=192 Sq.Ft. on 5 feet height for 3 days with new dark Grey carpet at near Hostel building complete in all respects | Sft | 192 | 3
26 | Providing and fixing LED scaffolding Riser stage with new black cloth masking 56x4=224 Sq. Ft. on (5+2 feet height) with new black masking at Cricket ground complete in all respect | Sft | 192 | 3
27 | Providing and fixing scaffolding structure based backdrop with star quality flex of size 32x12=348 Sq.Ft. For 3 days(Flex Design will be change in every day) for 3 days complete in all respect | Sft | 348 | 3
28 | providing and fixing Aluminium stuctureTrussing(2x2) for light arrangement at hostel building (40 feet x25 feet) complete in all respect | Job | 1 | 3
29 | providing and fixing 3 nos Green Room for artist 16x16 (3 nos.) with new grey carpeted platform, 2 nos dressing table, 2 nos. sofa set, glass top center table and 4 vip tent chairs and sink etc. complete in all respect for 3 days | Nos | 3 | 3
30 | Providing and fixing 1 nos Green Room for artist 16x16(1nos) with new grey carpet platform ,2nos dressing table etc. complete in all respect | Nos | 1 | 3
31 | providing and fixing New carpet of desire colour(5000 Sq. Ft.) | Sft | 5000 | 3
32 | providing and fixing Mojo Barricading for cover stage and VVIP entry at cricket ground(1000 Running feet) complete in all respect | Rft | 1000 | 3
33 | Providing and fixing New Black cloth framed wall( cloth covered from both side) on 10 feet height for ground cover 500 running feet | Rft | 500 | 3
34 | Providing & fixing tent of size 10x10 feet for food stall & technical event,three sides & ceiling cover with new white cloth & carpet etc complete in all respect | Nos | 15 | 3
35 | Providing & fixing tent of size 15x15 feet for food stall & technical event,three sides & ceiling cover with new white cloth & carpet etc complete in all respect | Nos | 15 | 3
36 | Providing and fixing new white Table cloth of size 10x10 etc complete in all respect | Nos | 40 | 3
Total (C ) | [5 empty] | 0
Grand Total (A+B+C) | [5 empty] | 0
[5 empty] | GST@18% | 0
|  | Total Amount in Rs. Including GST |  |  |  | 0